STAFF APPROVAL GUIDELINES

CITY OF OWOSSO

DOWNTOWN HISTORICAL DISTRICT COMMISSION

WHEREAS, Article IX of the City of Owosso Ordinance authorizes the Owosso Downtown Historic District Commission to “delegate the issuance of certificates of appropriateness for specified minor classes of work to its staff,” and “the commission shall provide to the delegated authority specific written standards for issuing certificates of appropriateness”;

NOW THEREFORE BE IT RESOLVED that, the Owosso Downtown Historic District Commission defines the following activities as “minor classes of work” which may be approved by the commission staff, city planner or building official:

- Replacement of signage provided that:  1) the new sign fits within an existing frame or replaces a sign in the exact location and with the same size, lighting, and material of the existing sign or 2) that the sign fits within the existing sign panel provided that the materials do not detract from historic features and that the signage is generally congruous with adjacent signage.

- Replacement of the fabric of existing canvas awnings provided that the new canvas is not plastic or vinyl coated and does not appear to be so.

- Replacement of existing fencing provided that: 1) the fence is in the same location and is composed of the same or more historically appropriate material; 2) the fence is the same height; and 3) it is a chain link, wrought iron, or flat board fence. Chain link or metal security type fences may not be installed in the front open space or within the side open space on the street side of corner lots.

- Installation of glass blocks to replace basement windows provided that: 1) the glass block is recessed in the opening to the location of the existing window; 2) screening or grates are installed on the exterior to cover the glass block; 3) the windows are no larger than 36” wide and 24” high; and 4) the windows are located on the sides and rear of the property.

- Removal of dead, diseased, hazardous or damaged trees provided that:  a written statement by a professional is provided documenting the condition and that the trees are not savable, or it is an emergency situation as determined by the building official.

- Replacement of gutters and downspouts provided that: the size, materials, configuration, and placement match the existing.

- Replacement of roofs provided that: the materials, color, and roofline match the existing.

- Replacement of existing windows that are deteriorated beyond repair and that match the existing in size, type, location, material and muntin pattern; bare metal finishes (except for aluminum cladding), Low “E” reflective or tinted glazing are not permitted unless they match the existing.

- Installation of new storm windows and storm doors that match the opening size and are not bare metal; that mullions and meeting rails of storm windows match the prime windows; and the design of the storm door is similar in style to the prime door.

- Replacement of non-original windows or doors; or windows or doors in non-contributing resources; with new windows or doors that are an accurate restoration using historical, pictorial, and physical documentation, or a new design that is compatible with the openings and historic character of the building.

- Installation of new skylights or solar panels on non-character defining roof surfaces not visible from the street provided the skylights are flat, do not extend more than 8 inches above the roof surface, are similar to the color of the roof material and cover not more than 10% of the roof surface on which they are located; bare metal finishes, bubble or domed skylights are permitted only on flat or rear-facing roofs.

- Installation of new wood clapboard siding or artificial siding that replicates clapboard where the existing siding is artificial and provided the exposed vertical dimension of the new “clapboard” is no more than five inches or within one inch of the missing or covered original; no new material may cover nor require the removal of any original trim or architectural detail such as ornamental shingles, carved brackets, window hoods and the like.

- Removal of artificial siding to repair and restore original siding.

- Cleaning of masonry provided the application meets the requirements in Preservation Briefs 1: Assessing Cleaning and Water-Repellent Treatments for Historic Masonry Buildings and Preservation Briefs 6: Dangers of Abrasive Cleaning to Historic Buildings.  Sandblasting or the use of any other abrasive processes is strictly prohibited in the district.

- Reconstruction of masonry to exactly match the existing in color, size, texture, coursing, mortar profile, color, composition, and joint width.

- The installation of satellite dishes or antenna, provided the location is not visible from the street or sidewalk in the front, or if a corner lot, the street or sidewalk on the side.

- Installation of new handrails that match the existing balustrade may be added to porch steps, or the replacement of non-original handrails with replicas of documented original handrails, or new compatible handrails.

- Re-construction of existing fire escapes in a matching or smaller size.

- The replacement of existing on-grade walkways, stairways, retaining walls and driveways in the same location in matching or compatible materials.

- Replacement of concrete basement walls provided that the exterior of the portions of the walls above grade are finished in a material matching the original or with a smooth parge coat.

- Window and door boarding provided that the boarding-up is temporary and for the protection of the building; and the boarding is painted to look like windows or a dark color such as black or brown. Boarding used for ventilation techniques allowing air flow into the building should be similarly painted a dark color.

- Reconstruction of existing historic porches or porch elements provided the materials and design exactly match the existing materials and design.

- Reconstruction of existing non-historic porches to match the existing design or the historic design that is documented using historical, pictorial, or physical documentation, or a new design that is compatible with the historic character of the building.

- Replacement of non-original garage doors and overhead doors with new doors that are compatible with the design of the garage and/or structure and are located within the existing or historic opening.

- Installation of air conditioning or mechanical equipment provided that the equipment is not visible from the street or sidewalk and does not destroy historic features.

- Replacement of internal and external lighting on signs, provided the replacement matches the same in materials, intensity, placement, and configuration.

- The replacement of existing decks in the same location in a matching or smaller size; or the expansion of decks on non-contributing resources provided the expansion does not negatively impact historic resources.

- The replacement of existing public or other right-of-way features such as signs, planters, lighting and other objects in the same general location and in matching or improved materials and configuration.

- The addition of permanent or temporary public or other right-of-way features such as signs, construction materials, lighting, barricades, and other objects that are required in relation to a public works project, a traffic control order, or other public need.

- Removal of materials that are not historic in nature such as awnings, signs, etc.

Any and all applications denied by staff may be taken to the ODHDC for review.

The staff of the City of Owosso reserves the right to forward any and all applications to the ODHDC for review for any reason.